## Slide 1: Intel Virtual Storage Manager 0.5 for Ceph In-Depth Training
Tom Barnes Intel Corporation
July 2014
Note: All information, screenshots, and examples are based on VSM 0.5.1

## Slide 2: Prerequisites (Not covered in this presentation)
Ceph Concepts
  OSD, OSD State
  Monitor, Monitor State
  Placement Groups, Placement Group state, Placement group count
  Replication factor
  MDS
  Rebalance
General Ceph cluster troubleshooting
OpenStack Concepts
  Nova
  Cinder
    Multi-backend
    Volume creation
  Swift

## Slide 3: Agenda
Part 1: VSM Concepts
Part 2: VSM Operations
Part 3: Troubleshooting Examples
Note: All information, screenshots, and examples are based on VSM 0.5.1

## Slide 4
Part 1: VSM Concepts

## Slide 5: Part 1: VSM Concepts
VSM
  What it is
  What it does
Cluster
  VSM Controller & Agent
  Ceph cluster servers
  Ceph clients
  OpenStack controller(s)
VSM Controller
  Cluster manifest
  Storage Groups
  Network Configuration
VSM Agent
  Server discovery & authentication
  Server manifest
  Roles
  Storage Class
  Storage device paths
  Mixed used SSD
Servers & Storage Devices
  Server state
  Device state
  Replacing servers
  Replacing storage devices
Cluster Data Collection
  Data sources and update frequency

## Slide 6: VSM: What it does…
Web-based UI
  Administrator-friendly interface for cluster management, monitoring, and troubleshooting
Server management
  Organizes and manages servers
  Organizes and manages disks
Cluster Management
  Manages cluster creation
  Manages pool creation
Cluster Monitoring
  Capacity & Performance
  Ceph daemons and data elements
OpenStack Interface
  Connecting to OpenStack
  Connecting pools to OpenStack
VSM administration
  Adding Users
  Managing passwords
Management framework = Consistent configuration
Operator-friendly interface for management & monitoring
VSM Concepts

## Slide 7: VSM: What it is…
VSM Controller Software
  Runs on dedicated server (or server instance)
  Connects to Ceph cluster through VSM agent
  Connects to OpenStack Nova controller (optional) via SSH
  Never touches clients or client data
VSM Agent Software
  Runs on every server in the Ceph cluster
  Relays server configuration & status information to VSM controller
VSM Concepts

## Slide 8: Typical VSM-Managed Cluster
VSM Controller – Dedicated server or server instance
Server Nodes
  Are members of VSM-managed Ceph cluster
  May host storage, monitor, or both
  VSM agent runs on every server in VSM-managed cluster
  Servers may contain SSDs for journal or storage or both
Network Configuration
  Ceph public subnet – Carries data traffic between clients and Ceph cluster servers
  Administration subnet – Carries administrative communications between VSM controller and agents
    Also administrative comms between Ceph daemons
  Ceph cluster subnet – Carries data traffic between Ceph storage nodes – replication and rebalancing
OpenStack admin (optional)
  One or more OpenStack servers managing OpenStack assets (clients, client networking, etcetera)
  Independent OpenStack-managed network – not managed by or connected to VSM
  Optionally connected to VSM via SSH connection
    Allows VSM to “tell” OpenStack about Ceph storage pools
OpenStack
Admin
Ceph cluster 10GbE
or InfiniBand
VSM
Controller
Administration GbE
Ceph public - 10GbE
or InfiniBand
Client
Node
RADOS
Server Node
Monitor
OSD
OSD
OSD
VSM Agent
SSD
Server Node
Monitor
VSM Agent
Client
Node
RADOS
Client
Node
RADOS
Client
Node
RADOS
OpenStack-Administered Network
SSH
Server Node
Monitor
OSD
OSD
OSD
VSM Agent
SSD
Server Node
Monitor
OSD
OSD
OSD
VSM Agent
SSD
Server Node
OSD
OSD
OSD
VSM Agent
SSD
VSM Concepts

## Slide 9: Managing Servers and Disks
Servers can host more than one type of drive
Drives with similar performance characteristics are identified by Storage Class. Examples:
  7200_RPM_HDD
  10K_RPM_HDD
  15K_RPM_HDD
Drives with the same Storage Class are grouped together in Storage Groups
Storage Groups are paired with specific Storage Classes. Examples:
  Capacity = 7200_RPM_HDD
  Performance= 10K_RPM_HDD
  High Performance= 15K_RPM_HDD
VSM monitors Storage Group capacity utilization, warns on “near full” and “full”
Storage Classes and Storage Groups are defined in the cluster manifest file
Drives are identified by Storage Class in the server manifest file
7200_RPM_HDD
10K_RPM_HDD
15K_RPM_HDD
“Capacity” = 7200_RPM_HDD “Performance” = 10K_RPM_HDD “High Performance” = 15K_RPM_HDD
Capacity
Performance
High Performance
VSM Concepts

## Slide 10: Managing Failure Domains
Servers can be grouped into failure domains. In VSM, failure domains are indented by zones.
Zones are placed under each Storage Group
Drives in each zone are placed in their respective storage group
In the example at right, six servers are placed in three different zones. VSM creates three zones under each storage group, and places the drives in their respective storage groups and zones.
Zones are defined in the cluster manifest file
Zone membership is defined in the server manifest file
7200_RPM_HDD
(Capacity)
10K_RPM_HDD
(Perfromance)
Performance
Zone 1
Zone 2
Zone 2
Zone 1
Zone 2
Zone 3
Capacity
Zone 1
Zone 2
Zone 2
One Zone with server-level replication
VSM Concepts

## Slide 11: VSM Controller: Cluster Manifest File
Storage classes defined
[storage_class]
7200_rpm_sata
10krpm_sas
ssd
ssd_cached_7200rpm_sata
ssd_cached_10krpm_sas
[storage_group]
#format: [storage group name] ["user friendly storage group name"] [storage class]
high_performance "High_Performance_SSD" ssd
capacity "Economy_Disk" 7200_rpm_sata
performance "High_Performance_Disk" 10krpm_sas
value_performance "High_Performance_Disk_with_ssd_cached_Acceleration" ssd_cached_10krpm_sas
value_capacity "Capacity_Disk_with_ssd_cached_Acceleration" ssd_cached_7200rpm_sata
[cluster]
cluster_a
[file_system]
xfs
[management_addr]
192.168.123.0/24
[ceph_public_addr]
192.168.124.0/24
[ceph_cluster_addr]
192.168.125.0/24
[storage_group_near_full_threshold]
70
[storage_group_full_threshold]
80
Storage groups defined, assigned “friendly” name, and associated with storage class
Cluster name
Data disk file system
Network configuration
Storage group near full and full thresholds
Cluster Manifest File
Resides on the VSM controller server.
Tells VSM how to organize storage devices, how the network is configured, and other management details
VSM Concepts

## Slide 12: VSM Agent: Discovery and Authentication
VSM Agent runs on every server managed by VSM
  VSM Agent uses the server manifest file to identify and authenticate with the VSM controller, and determine server configuration
Discovery and authentication
  To be added to a cluster, the server manifest file must contain the IP address of the VSM controller, and a valid authentication key
    Generate a valid authentication key on the VSM controller using the xxxxxxxxx utility
    The authentication key is valid for 120 minutes, after which a new key must be generated
  When VSM agent first runs, it contacts the VSM controller
  It provides the authentication key located in the storage manifest file
  Once validated, the VSM agent is always recognized by the VSM controller
VSM Concepts

## Slide 13: VSM Agent: Roles & Storage Configuration
Roles
  Servers can run ODS daemons (if they have storage devices), Monitor daemons, or both.
Storage Configuration
  The storage manifest file identifies all storage devices and associated journal partitions on the server
  Storage devices are organized by Storage Class (as defined in Cluster Manifest)
  Devices and partitions are specified “by path” to ensure that paths remain constant in the event of a device removal or failure
SSD as journal and data drive
  SSDs may be used as journal devices to improve write performance
  SSDs are typically partitioned to provide journals for multiple HDDs
  Remaining capacity not used for journal partitions may be used as OSD device
  VSM relies on the server manifest to identify and classify data devices and associated journals. VSM does not have knowledge of how SSDs have been partitioned.
VSM Concepts

## Slide 14: VSM Agent: Server Manifest
[vsm_controller_ip]
#10.239.82.168
[role]
storage
monitor
[auth_key]
token-tenant
[7200_rpm_sata]
#format [sata_device] [journal_device]
%osd-by-path-1% %journal-by-path-1%
%osd-by-path-2% %journal-by-path-2%
%osd-by-path-3% %journal-by-path-3%
%osd-by-path-4% %journal-by-path-4%
[10krpm_sas]
#format [sas_device] [journal_device]
%osd-by-path-5% %journal-by-path-5%
%osd-by-path-6% %journal-by-path-6%
%osd-by-path-7% %journal-by-path-7%
%osd-by-path-7% %journal-by-path-7%
[ssd]
#format [ssd_device] [journal_device]
[ssd_cached_7200rpm_sata]
#format [intel_cache_device] [journal_device]
[ssd_cached_10krpm_sas]
#format [intel_cache_device] [journal_device]
Address of VSM Controller
Include “storage” if server will host OSD daemons
Include “monitor” if server will host monitor daemons
Authentication key provided by authentication key tool on VSM controller node.
Storage Class 7200_rpm_sata: Specifies path to four 7200 RPM drives and their associated journal drives/partitions
Storage Class 10krpm_sas: Specifies path to four 10K RPM drives and their associated journal drives/partitions
No drives associated with these Storage Class
Server Manifest File
Resides on each server that VSM manages.
Defines how storage is configured on each server
Identifies other roles (Ceph daemons) that should be run on the server
Authenticates servers to VSM controller
VSM Concepts

## Slide 15
Part 2: VSM Operations

## Slide 16: Part 2: VSM Operations
Getting Started
EULA
Create Cluster
Monitoring Cluster Health
OSD Status
Monitor Status
PG Status
Managing Servers
Add & Remove Servers
Add & Remove Monitors
Stop & Start Servers
Dashboard Overview
Managing Capacity
Creating Storage Pools
Managing Storage Devices
Restart OSDs
Remove OSDs
Restore OSDs
Manage Servers
Manage Devices
Manage Pools
MDS Status
RBD Status
Working with OpenStack
OpenStack Access
Managing Pools
Managing VSM
Manage VSM Users
Manage VSM Configuration
Log In
Navigation
Storage Group Status
Dashboard Overview
VSM Operations

## Slide 17
Getting Started

## Slide 18: Logging In
Getting Started
User Name
(Default: admin)
Password
(default: See note at right)
First Time Password
Auto-generated on VSM Controller:
#cat /etc/vsmdeploy/deployrc | grep ADMIN >vsm-admin-dashboard.passwd.txt
#cat vsm-admin-dashboard.passwd.txt

## Slide 19: EULA
Getting Started
Accept
Read

## Slide 20: Create Cluster
Getting Started
Create new Ceph cluster
All servers present
Correct subnets and IP addresses
Correct number of disks identified
At least three monitors & odd number of monitors
Servers located in correct zone
Servers responsive
One Zone with server-level replication

## Slide 21: Create Cluster
Getting Started
Step 1
Step 2: Confirm

## Slide 22: Create Cluster - Status Sequence
Getting Started

## Slide 23: Dashboard Overview
Getting Started
Freshly initialized cluster:
94 of 96 OSDs up and in
No OSDs near full or full
No Storage Groups near full or full
Minimum of three monitors
Odd number of monitors
No warnings
Vast majority of PGs active + clean
Monitor servers not synchronized with NTP server

## Slide 24: The VSM Navigation Bar
Dashboard – Overview of cluster status
Server Management – Management of cluster hardware – add/remove server, replace storage devices
Cluster Management – Management of cluster resources – cluster and pool creation
Monitoring the cluster – Monitoring overall capacity, pool utilization, status of OSD, Monitor, and MDS processes, Placement Group status, and RBD status
Managing OpenStack Interoperation: Connection to OpenStack Server, and placement of pools in Cinder multi-backend
Manage VSM – Add users, manage user passwords
Getting Started

## Slide 25
Managing Capacity

## Slide 26: Storage Group Status
Managing Capacity
Storage Groups
Capacity of all disks in storage group
Capacity that has been used (includes replicas)
Capacity remaining
Used capacity of largest node
If largest node capacity is bigger than capacity available, then there will be a problem if the largest node fails because there isn’t enough capacity in the rest of the storage group to absorb the loss
Warning message indicates that storage group full or near full threshold is exceeded
Storage Group Full and Near Full thresholds
Storage Group Full and Near Full thresholds.
Configurable in cluster manifest

## Slide 27: Manage Pools
Managing Capacity
Pool name
Storage group that Pool is created in
PG Count – automatically set by VSM: (50 * number of OSDs in storage group)/replication factor
Number of copies (primary + replicas)
Where created
(VSM or external to VSM)
Optional identifying tag string
Create new pool

## Slide 28: Create Pool
Number of copies (primary + replicas)
Optional descriptive tag string
Pool Name
Select storage group where pool will be located
Managing Capacity

## Slide 29: RBD Status
Managing
Capacity
Virtual Disk Size Committed (not used)
Data only (not replicas)

## Slide 30
Monitoring Cluster Health

## Slide 31: VSM Status Pages: Ceph Data Source Update Frequency
Page | Source – Ceph Command | Update Period
Cluster Status | Ceph status –f json pretty | 1 minute
Storage Group Status | ceph pg dump osds -f json-pretty | 10 minutes
Pool Status | osd pool stats –f json-pretty ceph pg dump osds -f json-pretty ceph osd dump -f json-pretty | 1 minute 10 minutes 10 minutes
OSD Status Summary data OSD State CRUSH weight Capacity stats | ceph status –f json pretty ceph osd dump -f json-pretty ceph osd tree –f json-pretty ceph pg dump osds -f json-pretty | 1 minute 10 minutes 10 minutes 10 minutes
Monitor Status | ceph status –f json pretty | 1 minute
PG Status Summary data Table data | ceph status –f json pretty ceph pg dump pgs_brief -f json-pretty | 1 minute 10 minutes
RBD Status | rbd ls -l {pool name} --format json --pretty-format | 30 minutes
MDS Status | ceph mds dump -f json-pretty | 1 minute
Managing Capacity

## Slide 32: Dashboard Overview
Monitoring Cluster Health
Healthy Cluster: Majority of PGs active + clean
See detailed status
Healthy Cluster:
All OSDs up and in
No OSDs near full or full
Healthy Cluster:
No Storage Groups near full or full
Operating cluster may include variety of warning messages
See Diagnostics and Troubleshooting for details

## Slide 33: Dashboard Overview
Monitoring Cluster Health
Source:
ceph status
-f json pretty
Source:
ceph health
Source: VSM
Data Updated Once per Minute
Up to 1 minute delay between page and CLI

## Slide 34: Pool Status
Monitoring Cluster Health
Pool name
Storage group that Pool is created in
PG Count & PGP Count – automatically set by VSM: (50 * number of OSDs in storage group)/replication factor
Automatically updated when number of disks causes target PG count by more than 2X
Number of copies (primary + replicas)
Where created
(VSM or external to VSM)
Optional identifying tag string

## Slide 35: Pool Status
Monitoring Cluster Health
KB used by pool (actual)
Number of cloned objects
Total read operations
Client read bytes / sec
Number of objects in pool
Scroll….
Degraded objects – missing replicas
Unfound objects – missing data
Total read KB
Total write operations
Total write KB
Client write bytes / sec
Client i/o operations / sec

## Slide 36: Pool Status
Monitoring Cluster Health
ceph pg dump pools -f json-pretty
ceph osd pool stats -f json-pretty

## Slide 37: OSD Status
Ceph will automatically place problematic OSDs down and out (autoout)
Sort column to identify auto-out OSDs
Monitoring Cluster Health
Freshly initialized custer:
All OSDs up and in
No OSDs near full or full
Use Manage Devices page to attempt to restart autoout OSDs
Disk Capacity
Used Disk Capacity
Remaining Disk Capacity
Server where OSD disk is located

## Slide 38: OSD Status
Monitoring Cluster Health
Sources
OSD State from ceph osd dump -f json-pretty
CRUSH weight from Ceph osd tree –f json-pretty
Total capacity, used capacity, available capacity from ceph pg dump osds -f json-pretty
% Used capacity calculated: available capacity/total capacity
VSM state, server, storage group, zone from VSM

## Slide 39: Monitor Status
Monitoring Cluster Health
Source of all ceph data on this page: ceph status –f json

## Slide 40: PG Status
Monitoring Cluster Health
Degraded objects – missing replicas
Unfound objects – missing data
Client data
Client data + replicas
Remaining cluster capacity
Total cluster capacity
Summary of current PG states displayed here

## Slide 41: MDS Status
Monitoring Cluster Health

## Slide 42
Managing Servers

## Slide 43: Manage Servers
Managing Servers
Server Operations
Disks on server
Monitor process running
Server Status
Management, public (client-side) and cluster-side IP addresses
One Zone with server-level replication

## Slide 44: VSM Server State
Server Operation | Description | Required Server State
Add Server | Selected servers OSDs are added to cluster | Available
Remove Server | Selected servers OSDs are removed from cluster | Active Stopped
Stop Server | Selected servers OSDs are stopped | Active
Start Server | Selected servers OSDs are started | Stopped
Add Monitor | Selected servers monitor daemon is started | Active Available
Remove Monitor | Selected servers monitor daemon is stopped | Active
Server Operations
Managing Servers

## Slide 45: Add Servers
Add Server
Only valid servers are listed
Select servers to add
Set zone (defaults to value in server manifest)
Managing Servers
Confirm
One Zone with server-level replication

## Slide 46: Remove Servers
Remove Server
Only valid servers are listed
Select servers to remove
Managing Servers
Confirm

## Slide 47: Stop Servers
Stop Server
Select the servers to add
Only valid servers are listed
Select server(s)
to stop
Managing Servers
Confirm

## Slide 48: Stop Server - Operation Completion
Status transitions from Stopping to Stopped
when operation is complete
Starting the operation was successful…….
Managing Servers

## Slide 49: Start Servers
Managing Servers
Start Server
Select the servers to start
Only valid servers are listed
Confirm

## Slide 50: Add Monitor
Add Monitor
Only valid servers (active/no monitor or available) are listed
Managing Servers
Select servers to start monitors on
Warning if resulting number of monitors will be even or less than three
Confirm
Confirm
Again!

## Slide 51: Remove Monitor
Stop Server
Managing Servers
Only valid servers (active with monitor) are listed
Select servers to stop monitors on
Warning if resulting number of monitors will be even or less than three
Confirm
Again!
Confirm

## Slide 52
Managing
Storage Devices (Disks)

## Slide 53: Manage Devices
Managing Storage Devices
Restart Autoout OSDs
Sort!
Remove OSDs
Restore OSDs
Server
Data (OSD) drive path
Drive path check
Journal partition path
Drive path check
Capacity utilization
Select for operation

## Slide 54: Restart OSDs
Managing Storage Devices
Restart Autoout OSDs
Confirm
Wait
Select
Sort
Verify (may need to sort again)

## Slide 55: Remove OSDs
Managing Storage Devices
Remove OSDs
Wait
Select
Sort
Confirm
Verify (may need to sort again)

## Slide 56: Restore OSDs
Managing Storage Devices
Restore OSDs
Wait
Select
Sort
Confirm
Verify (may need to sort again)

## Slide 57
Working with OpenStack

## Slide 58: OpenStack Access
Interoperation with OpenStack
Click here to establish connection to OpenStack server
IP address of OpenStack Nova Controller
(Requires established SSH connection)
Confirm

## Slide 59: OpenStack Access
Interoperation with OpenStack
Select and Delete to remove connection to OpenStack server
IP address of OpenStack Nova Controller
(requires established SSH connection)
Select and Delete to remove connection to OpenStack server
Edit IP address of OpenStack Nova Controller
(requires established SSH connection)
Confirm

## Slide 60: Managing Pools
Interoperation with OpenStack
Attached Status
Created By: VSM or Ceph (outside fo VSM)

## Slide 61: Managing Pools
Interoperation with OpenStack
Only valid servers are listed
Select pools to present to OpenStack
Confirm
Start Here

## Slide 62
Managing VSM

## Slide 63: Manage VSM Users
Managing VSM
Start Here
Password: Must consist of 8 or more characters and include one numeric character, one lower case character, one upper case character, and one punctuation mark
Confirm

## Slide 64: Manage VSM Users
Change Password
Delete User
Cannot delete default admin user
Managing VSM

## Slide 65
Part 3: Troubleshooting Examples

## Slide 66: Troubleshooting Ceph with VSM
Stopping servers without rebalancing
OSDs not running
OSDs Near Full or Full
Identifying failed or failing data and journal disks
Replacing failed or failing data and journal disks
Troubleshooting cluster initialization
Troubleshooting

## Slide 67: Stopping without Rebalancing
  The cluster may periodically require maintenance to resolve a problem that affects a failure domain (i.e. server or zone).
  The Stop Server operation on the Manage Servers page allows the OSDs on selected server(s) to be stopped.
  When servers are stopped using the Stop Server operation, the cluster is set to “noout” before OSDs are stopped, which prevents rebalancing
    Placement groups (PGs) within the OSDs you stop will become degraded while you are addressing issues with within the failure domain.
    Because the cluster is not rebalancing, time spent with servers stopped shoud be kept to a minimum
  When servers are restarted using the Manage Servers page, “noout” is unset, and balancing resumes
More at: https://ceph.com/docs/master/rados/troubleshooting/troubleshooting-osd/#stopping-w-out-rebalancing
Troubleshooting

## Slide 68: OSDs Not Running
Relationship between path and physical location
Manage Devices page shows two OSDs out-down-autoout state (sort by OSD State)
The Cluster Status page shows two OSDs not Up and In
Manage Devices page shows the server(s) where the out-down OSDs are located
Manage Devices page shows the path where the OSD drives are attached
More at: https://ceph.com/docs/master/rados/troubleshooting/troubleshooting-osd/#an-osd-failed
Troubleshooting

## Slide 69: OSDs Near Full or Full
The Cluster Status page shows whether any OSDs have exceeded near full or full threshold
Near full, full OSDs identified via cluster health messages
More at: https://ceph.com/docs/master/rados/troubleshooting/troubleshooting-osd/#no-free-drive-space
HEALTH_ERR 1 nearfull osds, 1 full osds
osd.2 is near full at 85%
osd.3 is full at 97%
Cluster will stop accepting writes when OSD exceeds full ratio.
Add capacity to restore write functionality
Troubleshooting

## Slide 70: Using VSM to Ientify Failed or Failing Data and Journal Disks
Repeated auto-out or inability to restart auto-out OSD suggests failed or failing disk
VSM periodically probes drive path – missing drive path missing indicates complete disk failure
A set of auto-out OSDs that share the same journal SSD suggests failed or failing journal SSD
VSM periodically probes drive path – missing drive path indicates complete disk (or controller) failure
Troubleshooting

## Slide 71: Using VSM to Replace Failed or Failing Data and Journal Disks
Replacing Failed Data Drive
On the Manage Device page…
  Select the OSD to be replaced
  Note the Data Device Path for the device to be removed. Consult your system documentation to determine physical location of the disk
  Click on “Remove OSDs”.
  Wait until the VSM status for the removed drive is “removed”
On the Manage Servers page…
  Click on “Stop Servers”
  Select the server where the removed OSD resides
  Click on “Stop Servers”
  Wait until the stopped server changes to “stopped”
On the stopped server….
  Shut down the server (Linux command?)
  Replace the failed disk
  Restart the server
  If needed, configure the drive path to match the data device path as noted in step 1B in the Manage Devices page
    This may be required, for example, if the data drive was partitioned
On the Manage Servers page…
  Click on “Start Servers”
  Select the stopped server
  Click on “Start Server”
  Wait until the stopped server changes to “Active”
On the Manage Devices page…
  Selecte the removed OSD
  Click on “Restore OSDs”
  VSM status will change to “Present” and OSD State will transition to “In-Up”
Replacing Failed Journal Disk
On the Manage Device page…
  Select all of the OSDs affected by the failed journal drive
    Note: This step assumes that one journal drive services multiple OSD drives
  Note the Journal Device Paths for each of the affected OSDs. Consult your system documentation to determine physical location of the disk
  Click on “Remove OSDs”.
  Wait until the VSM status for all selected OSDs is “removed”
On the Manage Servers page…
  Click on “Stop Servers”
  Select the server where the removed OSDs reside
  Click on “Stop Servers”
  Wait until the stopped server changes to “stopped”
On the stopped server….
  Shut down the server (Linux command?)
  Replace the failed journal drive
  Restart the server
  Partition the new journal drive so as to match the journal device paths of the affected OSDs as noted in step 1B above.
    Note: This step assumes that one journal drive services multiple OSD drives
On the Manage Servers page…
  click on “Start Servers”
  Select the stopped server
  Click on “Start Server”
  Wait until the stopped server changes to “Active”
On the Manage Devices page…
  Selected all of the removed OSD
  Click on “Restore OSDs”
  For each restored OSD, the operation is complete when VSM status changes to “Present” and OSD State changes to “In-Up”
Troubleshooting

## Slide 72: NTP Server Synchronization
Troubleshooting
Typically due to failure t synchronize servers hosting monitors with NTP service

## Slide 73: Troubleshooting freshly initialized cluster I
Freshly initialized cluster:
158 of 160 OSDs up and in
No OSDs near full or full
Freshly initialized cluster:
No Storage Groups near full or full
Freshly initialized cluster:
Minimum of three monitors
Odd number of monitors
No warnings
Vast majority of PGs active + clean
PGs associated with down & out OSDs
Troubleshooting

## Slide 74: Troubleshooting freshly initialized cluster II
Two OSDs auto-out
Remapped PGs due to down OSDs
Down and peering OSDs due to down OSDs